### Additional Procedures for Persons with Disabilities

The following document outlines procedures for alerting, evacuating, or sheltering persons with disabilities located on campus during an emergency. Every member of the university community has a responsibility to facilitate the safe evacuation and sheltering of persons with disabilities by adhering to the following guidelines.

The university recognizes that individuals with disabilities may require assistance with alerting, evacuating, and sheltering in the event of an emergency. The university therefore asks all individuals, including those with disabilities, who may need assistance in an emergency to identify themselves to the university. Once an individual has self-identified, the university will work with the individual to develop a Personal Emergency Evacuation Plan that includes specific evacuating and sheltering procedures and means of communication in the event of an emergency. The university is also committed to training its employees to identify and assist persons who may need assistance in an emergency.

This document contains the following guidance:

- Personal Emergency Evacuation Plan

- Communication and Alerting Procedures

- Evacuation Procedures

- Further Guidance for Persons with Disabilities

- Confidentiality Statement

- Contact Information and Emergency Numbers

#### Personal Emergency Evacuation Plan

The university will ask all faculty, students, and staff if they will require assistance in an emergency. The Personal Emergency Evacuation Plan is voluntary; the purpose of the request is to assemble information to assist in alerting, evacuating, or sheltering individuals in case of an emergency.

Individuals who believe that they may need assistance during an emergency should complete the Personal Emergency Evacuation Plan. It is available on the Disability Resource Center website at http://drc.rice.edu. Any individual requiring assistance will update their Personal Emergency Evacuation Plan as follows:

- Annually, no later than January 31, of each calendar year

- Whenever circumstances warrant an update (e.g., there have been changes in his/her condition that would require a change in assistance).

In addition to submitting a Personal Emergency Evacuation Plan, any employee or student needing assistance may also voluntarily provide information to anyone within the university community about his/her need for assistance during an emergency. However, such notification is not intended to be a substitute for proper identification using the Personal Emergency Evacuation Plan. Supervisors may also ask an employee who has self-identified as disabled if he/she will require assistance in the event of an emergency.

Employees: Faculty, other academic personnel, and staff should return the Personal Emergency Evacuation Plan to:

Environmental Health and Safety
103 Space Science & Tech. Bldg.

6100 Main Street MS 123

Houston, Texas 77005-1892

Telephone: 713-348-4444

Fax: 713-348-5814

Students: Students should return the Personal Emergency Evacuation Plan to:

Director of Disability Resource Center
Allen Center 111
MS-802
6100 Main Street
Houston, Texas 77005-1892
Telephone: 713-348-5841
Fax: 713-348-5888

#### Personal Emergency Evacuation Plans

Once an individual submits a Personal Emergency Evacuation Plan, Environmental Health and Safety will work with the individual, his/her supervisor, college magister (if applicable), and the relevant building manager(s) to review the Personal Emergency Evacuation Plan for assisting that individual in evacuating or sheltering-in-place in case of an emergency. This plan will include:

- Identifying the safest area located on each floor within the building to which a person with disabilities can be moved or directed to await assistance from emergency response personnel; and

- Designating a means to inform emergency response personnel (Houston Police Department, Houston Fire Department, RUPD) of the locations of any person(s) requiring assistance.

This Personal Emergency Evacuation Plan will be incorporated into the fire safety information for each building that the individual is reasonably expected to routinely occupy (e.g., classroom, dormitory, library).

##### Rescue Assistants

Further, as part of the Personal Emergency Plan process, the university will ask the individual with disabilities to identify at least two rescue assistants who are capable of offering assistance in evacuating during an emergency. A rescue assistant should be someone who is likely to be in a building during the same time frame as the individual, but not necessarily in the same area. A rescue assistant can be a co-worker or student; in either case, it is recommended that that the rescue assistant is a friend. An employee’s department or the appropriate Dean of Students is available to assist individuals in identifying rescue assistants.

Environmental Health and Safety will provide rescue assistants and other Personal Emergency Evacuation Plan participants (e.g. RUPD, resident assistants) with the following training:

- Contents of this policy and procedure

- Fire safety procedures

- How to assess surroundings in an emergency

- How to assist the individual with a disability without causing injury, should the need to move him/her physically becomes necessary

- How to communicate with the individual

- Understanding what equipment needs to be evacuated with the person with a disability or where backup supplies, such as wheelchairs or oxygen, can be obtained.

#### Communication and Alerting Procedures

Before an Emergency Occurs: The university recommends all university faculty, students, and employees to register with Rice University Emergency Notification System. This system enables university officials to reach members of the university community by rapidly transmitting short notifications by e-mail to any outside e-mail address, by text message to a cell phone, by fax, or by voice message to an off-campus telephone or cell phone. Faculty, students, and staff that have not yet done so are encouraged to visit http://esther.rice.edu as soon as possible to enter contact information.

It is particularly important that individuals who require a non-auditory alert submit a Personal Emergency Evacuation Plan and sign up for the Rice University Emergency Notification System. Individuals with hearing impairments who reside in campus housing are also urged to self-identify for the purpose of securing visual alarms to provide an alert in the event of an emergency.

Any person with a disability who will need assistance during an emergency evacuation and might be in a building after regular work hours or at times when others are not usually present should also strongly consider notifying the Rice University Police Department (RUPD) of their location and providing the building, floor, room, and times of arrival and departure.

During an Emergency: Individuals with communication disabilities may be unable to obtain necessary evacuation information from standard auditory fire alarms or public address systems. As a consequence, hearing and visually impaired individuals may need to be alerted and given further instruction in emergency situations by rescue assistants or others. Nearby rescue assistants, faculty, staff, or students should also offer assistance to visually impaired individuals who may need help negotiating unfamiliar routes during an emergency evacuation.

During an emergency, the Houston Fire Department and the Rice University Police Department (RUPD) will attempt to check all locations, including restrooms, to communicate the need to evacuate.

If forced to stay in place during an emergency, a person with a disability should try to call RUPD (713-348-6000, or 6000 on campus telephones) to notify them of his/her location, in addition to asking others who are evacuating to alert RUPD. RUPD will then dispatch a police officer to the location to assist in the evacuation (the person with disabilities should stay on the line with the dispatcher while waiting for RUPD to arrive).

It is strongly recommended that persons with disabilities acquire additional alerting devices to draw attention to them during an emergency. Cell phones, pagers, and loud whistles are effective tools for drawing attention or for contacting emergency personnel.

#### Evacuation Procedures

The University expects that the Personal Emergency Evacuation Plans will serve as the first line of defense to ensure the safety of individuals with disabilities. The following provides further guidance for emergency procedures for persons with disabilities; however, this information is not meant to replace the proper planning and training included in a Personal Emergency Evacuation Plan.

University procedures require all persons, including those with disabilities, to evacuate a facility any time the fire alarm system is activated or otherwise instructed to do so. Depending upon the facility and type of disability at issue, a person with disabilities may have the following evacuation options:

- Horizontal evacuation (e.g., going from one building into a connected, adjacent building on the same level)

- Vertical (or stairway) evacuation

- Proceeding to an Area of Rescue Assistance or Priority Rescue Area to await evacuation

- Staying in place to await evacuation (e.g., in an office or classroom)

Note: Elevators are never to be used in the event of a fire without explicit authorization by fire or police personnel. Further, stairway evacuations of individuals who use wheelchairs may be hazardous to disabled individuals, rescuers, and others attempting to evacuate and should not be attempted by untrained personnel. Individuals with mobility impairments who are able to walk independently or with assistance may be able to negotiate stairs; however, if danger is imminent the individual should wait until heavy traffic has cleared before attempting the stairs.

Stay in Place: In circumstances where evacuation is not possible and removal to an Area of Rescue Assistance or Priority Rescue Area is not practical (e.g., if a pathway is impeded), it is recommended that a person with a disability stay in place (e.g., in their office or dormitory room). It is the responsibility of every member of the University community to immediately communicate to RUPD and emergency personnel the location of individuals who are unable to evacuate. In addition, the person with disabilities should be reminded to telephone RUPD immediately to further ensure that on-site emergency personnel will receive the information as soon as possible.

#### Further Guidance for Persons with Disabilities

The Role of the Rice University Police Department and the Houston Fire Department: The University Police Department (RUPD) and the Houston Fire Department (HFD) are the first responders to all campus emergencies, including those requiring evacuation. The RUPD and HFD will enter a building during an emergency to facilitate the safe evacuation of all occupants. If possible, the RUPD and HFD will conduct floor-by-floor searches to locate individuals who are unable to exit the building safely, including a search of all Areas of Rescue Assistance and Priority Rescue Areas. RUPD will serve as the primary point of contact for responding university emergency personnel. All rescue assistants and individuals with disabilities will contact RUPD to report on the evacuation status and location of an individual with a disability so that RUPD can relay this information to emergency personnel.

Training: All university employees are required to undergo Fire Safety and Evacuation training at hire and on an annual basis thereafter. Students receive Fire Safety and Evacuation information during orientation, and students living in university housing also participate in fire drills.

The university will also train RUPD, rescue assistants, supervisors, and facility managers in identifying and assisting persons who may need assistance in an emergency and the location of designated rescue locations.

Practice will instill confidence in one’s ability to cope in an emergency. It will also do more than anything else to assure that appropriate lifesaving actions will be taken during a real emergency. Practice consists of walk-through procedures, announced drills, and/or surprise drills.

#### Confidentiality Statement

The University is required by law to keep all medical information confidential. However, emergency and safety personnel and other university representatives may be informed if an individual with a disability might require help with alerting, evacuation, or sheltering during an emergency. The information shared with such personnel will be limited to information necessary to help alert, evacuate, or shelter the disabled individual during an emergency.

Emergency Numbers:

| Police, Fire, and Ambulance Assistance |  |  |
| --- | --- | --- |
| from any campus telephone |  | ...................6000 |
| from any non-campus telephone |  | ...................713-348-6000 |
| Contact Information: |  |  |
| Rice University Environmental Health and Safety |  | 713-348-4444 Abercrombie 106 MS-123 6100 Main Street Houston, Texas 77005-1892 |
| Director of Disability Resource Center |  | Allen Center, Room 111 MS-802 6100 Main Street Houston, Texas 77005-1892 713-348-5841 |